## ENCLOSURE SPEC GUIDE
AC-DC ELECTRICAL POWER SYSTEM ENCLOSURE SPECIFICATION GUIDE SHEET
Date: 02/21/19
Revision: 1
ENCLOSURE TECHNICAL DETAILS | YES | NO | NOTE
ENCLOSURE INDUSTRY STANDARD
IEC 60529
UL 508A
CSA C22.2 N0.94
CSA/UL CERTIFICATION REQUIRED
CBC 2016/IBC 2015 (Seismic standard) CERTIFICATION REQUIRED
OSHPD CERIFICATION REQUIRED
OTHERS SPECIFY AT NOTE
MATERIAL
CARBON STEEL/MILD STEEL
STAINLESS STEEL
GALVANIZED
OTHERS SPECIFY AT NOTE
SKIN THICKNESS
12 GAUGE
16-14 GAUGE
OTHERS SPECIFY AT NOTE
INGRESS PROTECTION
NEMA 1/IP20-21
NEMA3R/IP44-54
NEMA 4/IP55-65
NEMA 4X/IP55-65
NEMA 12/IP55-65
OTHER NEMA/IP RATINGS-SPECIFY AT NOTE
VENTILATION
CONVECTION/LOUVER/PERFORATED
FORCE COOLING
DUST FILTER
INSULATION WALL
A/C EQUIPPED
INDOOR
OUTDOOR
DOOR
SINGLE
DOUBLE
REMOVABLE
210 DEGREE OPEN
180 DEGREE OPEN
90 DEGREE OPEN
DOCUMENT HOLDER ON DOOR
LOCKABLE
GASKET
GROUND STUD
ROOF
SLOPE
FLAT
LIFTING EYEBOLT
BASE
I BEAM
C CHANEL
GROUND PAD
MOUNTING HOLE
ADUSTABLE FEET
INTERNAL MOUNTING RAIL
19"/23" VERTICAL MOUNTING RAILS
HORIZONTAL UNISTRUT BARS ON LEFT & RIGHT SIDE WALLS
GROUND BAR
INTERNAL COMPONENT MOUNTING PANEL
LEFT SIDE MOUNTING PANEL
RIGHT SIDE MONTING PANEL
BACK SIDE MONTING PANEL
FULL LENGTH PANEL
HALF LENGTH PANEL
INTERNAL SECTIONAL DIVIDER
VERICAL DIVIDER PANEL
HORIZONAL DIVIDER PANEL
INTERNAL BATTERY MOUNTING
TRAY
RACK
CABLE ENTRY
TOP
BOTTOM
SIDE TOP
SIDE BOTTOM
REAR TOP
REAR BOTTOM
FINISHING
POWER -COAT
ANTI-CORROSIVE PAINT PRIMER & EXTERIOR TOP COAT
EXTERIOR COLOR
RAL7035
RAL 7038
RAL 9003
OTHERS SPECIFY AT NOTE
INTERIOR COLOR
RAL7035
RAL 7038
RAL 9003
OTHERS SPECIFY AT NOTE
ACCESSORIES
ENCLOSURE SPACE HEATER
TEMPERATURE MONITORING/THERMOSTAT
OTHERS SPECIFY AT NOTE