ALPHA MOBILE POWER SYSTEM

STANDARD & OPTIONAL COMPONENTS

Revison: 00

Date: 01/01/2011

TRAILER SIZES & DIMENSIONS

3 Standard Trailer Dimensions:         8’ X 10’      8.5’ X 14’      8’ X 20’        Other________________

- Walk on Roof– Standard

Flat roof – Standard

- 12" Additional Interior height  - (84”) Interior height – Standard

- All with 102" Wide Body Design – Standard

  - Max allowable by DOT

  - Flush Fenders interior

- 8" I-Beam Frame – Standard

TRAILER STYLE

- Double rear cargo doors – Standard

RV Style Flush Latch for doors`

Rear Ramp style door - Optional

- Cove (oval) front – Standard

V-Nose - Optional

GENERAL TRAILER FEATURES & TRAILER CONSTRUCTION

- Curb side door

36” Wide

Flush Lock

- Aluminum Step for 36" Side Door

30" Swing-Up

- Front stone guard – Standard

48" high

Bright Aluminum Diamond Tread

- Bright Dip Front Covers – Standard

- Brushed aluminum fenders – Interior as Standard

- Corrosion resistance coating on under carriage – Standard

- Side mounted vents (2) – Standard

- 12" X 16" Lockable Access Doors X 2

QTY 2

Typically Used for Cable access

Typically installed in rear doors; One per door

Other locations (Please specify) ________________

- Grab Handle – Standard

Mounted near side door

- 5,000 Pound Capacity Scissor Stabilizer Jacks - Standard

QTY 2 – Mounted on Rear

CHASSIS

- Tandem Axles - Standard

- 7.5K Ton Torsion Dexter Axles – Standard

Total axle capacity = 15,000 GVW INCL TRAILER

- Electric brakes with break-away provisions; includes battery backup – Standard

WALLS /  ROOF / CELING /  FLOOR

GENERAL

- 16" OC Cross Members – Floor, Wall & Ceiling spacing  - Standard

ROOF

- 16" OC Tubular Cross Members roof – Standard

3/8” Plywood underlayment roof – Standard

CEILING

- 16" OC Cross Members - Standard

- White Vinyl Ceiling - Standard

- R-10 insulation in ceiling  – Standard

WALLS

- Tube Wall Members – Standard

- .04 Exterior Thickness (STEEL)

- R-7 Wall Insulation

- ¾” plywood interior walls – Standard

- White Vinyl Walls - Standard

Interior Wall Protection  - Alpha Rubber Tread Plate Floor covering -48” up side walls; polyurethane coating

FLOOR

- Alpha Rubber Tread Plate Floor covering - Standard

- ¾” plywood floor – Standard

PAINT / COLOR

Exterior Color:  Standard is White

Other available colors:

Black

Green

Arizona Beige

Indigo Blue

Dark Grey

Dove Grey

Brandywine

Victory Red

Light Pewter

Medium Charcoal

Silver Frost

Penske Yellow

Snyder Orange

Other (Specify) _____________________

GRAPHICS & LOGOS

Other (Specify) _____________________

HITCH & CONNECTIONS

- 60" Triple Tube Tongue – Standard

Extended tongue – Standard

- Adjustable 3” Pintle Eye Coupler – Standard

Class 4 ball & coupler  5K – 10K GVW - OPTIONAL

- Tongue Jack – Sidewinder, 7000 lbs – Standard

- Safety Chains to D.O.T. regulations – Standard

- 12V electrical connector

6’ – 4 way round; 7’ & 8’ – 7 way round – Standard

TRAILER MARKER LIGHTS

- L.E.D. exterior lights including stop/turn/tail

Combination rear Turn Signal / Stop / Brake light – Standard

Separate rear turn signal and separate brake indicator lights – OPTIONAL

WHEELS & TIRES

- 235/80R16    Load Range E   8 Ply Radial Tires – Standard

- Spare tire mount – Interior or Exterior mount  - OPTIONAL

- Spare tire – OPTIONAL

Spare Tire with Chrome Rim

Specification:  235/80R16    Load Range E   8 Ply Radial On Aluminum Star 8 Lug Rim For 7K Axle

- Wheel chocks – OPTIONAL

If customer uses a company specified chock style as a standard  - Please Check Box

(Also Please Specify type) _____________________

EXTERNAL GENERATOR

Tongue Mounted Generator Compartment – OPTIONAL

Generator  – OPTIONAL

(Please Specify capacity ) _____________________

HEATING & COOLING

- Sidewall Vents

QTY 2

One each side

- Roof Vent

Non-powered  / Manual crank

Weatherproof

Trailers come Pre-Wired and Braced for A/C – Standard

HEATER

- 4' Baseboard Heater – Standard

500W convection heater with thermostat (120VAC)

Heater Delete

AIR CONDITIONER

- 13.5K BTU air conditioner w/heat strip and thermostat (120VAC) – Standard

A/C Delete

LIGHTING

INTERIOR LIGHTING

- Interior lights – 12VDC – Standard

Interior LED Flush mounted rectangular Lights– Standard

QTY 2

2 X 4’ with wall mounted ON/OFF switch – Standard

- 120VAC powered lights

120VAC fluorescent light

QTY 1

2 x 4’ with wall mounted ON/OFF switch – Standard

- 12VDC solar panel charger to maintain on-board battery – OPTIONAL

EXTERIOR LIGHTING

- Exterior lights – Front & Rear Sides

12VDC

LED

QTY 8 total

QTY 3 on each side

`		QTY 1 Front

QTY 1 Rear

PROTECTION & SAFETY

- Hydrogen detector (120VAC) – OPTIONAL

- Fire Extinguisher – Standard

- Eyewash station – Standard

- First Aid Kit - Wall Mount - Standard

GENERAL ELECTRICAL

- ELECTRICAL PACKAGE

100 AC Distribution package

- GFCI outlets – Standard

QTY 2 -  120 VAC Interior

QTY 1 – 120 VAC Exterior

- 110 VOLT TO 12 VOLT CONVERTER

- 12 VOLT Battery And Battery Box

Used for interior & Exterior lighting

- DC – DC converter– OPTIONAL

(Please Specify Capacity ) _____________________

- 100 AMP Motorbase Plug For Shore Power

CONNECTIONS AND ACCESS

- Cable reels – Standard

QTY 2

For Positive/Negative DC Cable & AC Shore Power Cable

DC Cable Size = Typically 2

AC Cable Size  = Typically #6 AWG

- ACCESS CUBICLE (Shadowbox) – Standard

  - AC & DC Distribution panels

- Trailer interior access– Standard

DC disconnect switch for battery (batteries)

- Field Grounding connections– OPTIONAL

Generally, custom and built to suit specific customer specification

Please consult factory for additional details.

Add 100’ grounding cable reel with Mueller grounding cable clip BU-24APS or equivalent.

CONVENIENCE

- IINTERIOR Wall desk

- EXTERNAL Storage box

Tongue mounted - OPTIONAL

OTHER OPTIONAL EQUIPMENT AVAILABLE

- Alpha load bank for testing battery site to meet NERC compliance

- Standby UPS for 120VAC Convenience

- Inverter for 125 or 48 VDC to 120 VAC for 120VAc Conveneince

- Solar charging systems.

Battery System Options

Main Battery:		24V		48V		130V

(If Required)

Secondary Battery:  	24V		48V		130V		Not Required

Battery Type: Main	VRLA		VRLA (GEL)		Lead Acid		Ni-Cd

Secondary	VRLA		VRLA (GEL)		Lead Acid		Ni-Cd

Charger Input Voltage:  Main		120VAC	208VAC	240VAC	Other________

Charger Output Voltage:		24VD C	48VDC	             130VDC	Other________